13-FEB-95

History of significant bugs and changes

Most recent info is at top of file.

Anything bugs listed should be assumed to have been corrected by later

versions, unless otherwise stated.

Layout of file includes changes and enhancements to both

DOS an OS/2 versions of TOPDOC and SoftWIRES.  A feature

which has been added to the DOS version should be assumed

to have been added to the OS/2 version as well unless

otherwise specified.  Changes to the OS/2 versions are

OS/2 specific and are not related to the DOS versions.

+ means good things

- means bad things

**************** GENERAL TOPDOC/SOFTWIRES *************

5.28    (950213)

- When going online to a PLC-2 LR that was in run mode, the processor

would fault.  This was due to the fact that we were sending a 1 second

break, which would cause a watchdog timeout.  We now only send the

break signal if the PLC is faulted, and now it is a much shorter duration.

5.28    (930512)

+ When uploading from a PLC-2 through a KA device (1771-KA, 1771-KA2,

1785-KA3), the KA device disables the Program Interface port.  If you

have a programming terminal or TOPDOC attached to the Program Interface,

communications will be interrupted when another node performs an upload

though the Data Highway port.  This is a shortcoming in the earlier

series KA devices that cannot be avoided.  However, when the upload

has been completed, the KA reenables the Program Interface port, and

communications should resume as before.  If for example you have TOPDOC

attached to the Program Interface port during an upload, you will get

a timeout error message, followed by a message telling you that it is

trying to reestablish communications.  Communications will resume as soon

as the upload has been completed.  If, however, you are using Attached

Mode Cable Series B or Series C, TOPDOC will be unable to reestablish

communications until you cycle power to the KA device.  This problem

does not occur with the Attached Mode Cable Series A. There is an

alternative to cycling power to the KA device: you can construct an

adapter that will reset the Program Interface port after an upload.

The adapter consists of a 15-pin D-Shell connector with pins 3 and 7

jumpered together, and pins 4 and 8 jumpered together.  After TOPDOC

loses communications with the KA Program Interface, wait until the

upload is complete, then unplug the Attached Mode Cable, plug in the

adapter to reset the Program Interface port, then plug in the Attached

Mode cable.  TOPDOC will now be able to communicate to the PLC-2 through

the KA.  You must be aware that plugging in the adapter will cause

the forces to be cleared in the PLC-2.

5.28    (930114)

------------------

- The Xfer/Cartridge read, write, and verify tape menu option will

no longer crash before entering filename under OS2.  The filename

display text is no longer garbage under DOS.

5.27    JAN-93

------------------

+ Added 1774 tape emulation so that processor files can be uploaded to

a tape format file on disk and downloaded to the 1774.

5.26    MAR-92

------------------

+ 1K memory limit for the LR processor type is now 2K words rather

than 1K words.

5.22    FEB-91

------------------

+ Upon entering data highway monitoring, you now are prompted for

the station and channel information, although the default value

is obtained from the *.LOB file and will usually be correct.

5.20    JAN-91

------------------

- The ladder report would show incorrect cross references in the output

cross reference section.  This was a new bug caused by a programmer

"cleaning up" the code during the port to SCO UNIX 386.

+ On the ladder report under a contact which is examining an

OUTPUT bit, we now print cross reference to the rung number where that

output is being controlled.  Previously TOPDOC printed the field

drawing reference number instead.  This only impacts contacts

examining true real world OUTPUT bits, for which you entered

field drawing references into the database.

+ Smaller faster execution.

+ Verify pass now does not complain about POS values of 0 for instructions

like MFF, ANF, etc.

+ There is now a protected mode DOS EXTENDER version of SoftWIRES.

+ Online program mode supports block copy and block delete of marked

rung ranges.

5.13

------------------

- Softwires would scramble the addresses of rungs which were copied

across file boundaries after they had been preprocessed for execution.

- Searching for unlabeled parameters would turn up "RATE" constants

in instructions like MFF.  (How can you document Rate Per Scan?)

- Ladder diagram reports would show the Field Drawing Reference Number

under permissive instructions which were examining true OUTPUT

addresses.  The proper thing is to show the rung number where the

output is set.

- The rung comment file would get corrupted when editing a new comment

after having deleted a comment earlier.  Basically whenever the current

comment was being saved to a slot in the comment file other than the

last slot, then you were in for trouble.  This was a troubling bug

since it would ruin rung comment data!

5.10    27-SEP-89

----

+ Finally cleaned up the Data Highway Monitoring so it works with

ONE again.  This functionality had been awry since ver. 4.90.

Requires an update to ONECCM if you are using the ONE board.

5.08    August 25, 1989

----

+ A utility is now included to automatically create database

records for used memory locations in the dbf file.  It does

this by consulting the cross-reference file.  Also this

utility can be used to automatically delete unused database

records.  Later this program will be incorporated into the

TD2 menu system.

+ Ladder printout XREF info includes control bits for

Timer, Counter, & Controls.

+ Cleaned up the HELP file considerably.

+ Improved error code diagnostics for communications errors by way

of the HELP file.

+ Auto "Verify?" prompt on save of changed offline LOB file.

+ Auto "Cfg" menu invocation on creation of a new LOB file.

+ Auto recovery of database files which were edited with DBASE IV.

+ Now works with ONE for upload & download, although there is still

a problem with on line Datatable monitoring which will be fixed

end of August.

5.01    April 21, 1989

----

+ added Channel No. and Station No. to the CFG file for identification

on ONE server and on O.N.E. CCM multi-port boards.

+ changed some response messages with respect to their wording

+ with a 1771-KA/KA2/KG the download speed needs to be slower than

if you were direct connected to the PLC-2.  TOPDOC asks you

if you are connected to the PLC-2 through the program port

of a data highway module.  If you respond "YES", the download

will occur at a slower rate.  If you respond 'NO', normal

transfer speed will occur.  With a data highway module, this

faster speed will result in a failed attempt at downloading

your file.

+ in the documenter, the default path and filename for batch

configuration files (*.OPT) is now your program filename and

path.

- There was a bug in 5.01 that would create a report generation

message area within the LOB file containing null bytes.

This would lead to errors reading from tape.  You can fix

these LOB files by running the "2LOBFIX.EXE" program on them.

- the cross referencing scheme didn't handle high bytes properly.

This affected block transfer and get byte instructions and their

addresses.

- 5.0 allowed you to force in the run mode of the processor

- 5.0 allowed you to enter negative numbers for t/c presets

- a comma at the beginning of the instruction entry buffer

created a BST on the rung.

- 5.0 had a problem in printing the Dbase report in its entirety.

- 5.0 did not monitor the data table over the Data Highway

properly

- TD2 will under bizarre circumstances automatically clear memory.

This would sometimes occur just as you were attaching online.

- The offline editor so it sometimes creates a large garbage

message area which would often lead to cartridge tape problems.

This bug was first introduced with the embedded filename

support in 5.01.  Here, in message 0713 we embed the name of

the LOB file for quick reference during online editing.

5.0   March 20,1989

---

+ THE NEW MANUAL WAS INTRODUCED WITH VERSION 5.0!!!!!!!

+ On Screen cross referencing added.  You can now find any address

anywhere in your program without printed documentation!

+ Non-sequential rung display was added

+ The [INS][D] command allows for the entry of 4 digits

in a get instruction and the put instruction now shows

4 digits as well.

+ Some nagging bugs were fixed within TOPDOC and SOFTWIRES

which included some online display problems,get/put operation.

+ With the new series b cable forces are read upon entry and

exit of the program.  Cable sensing has been added.

+ O.N.E. support now functions better than ever with all data highway

modules.

+ Most error messages in the help files have been updated so that when

you press ' F1' the 'no help found' message will not be seen!

+ Page up / Page down control was added along with a help

browse feature which will allow you to go anywhere in

the help system.

+ You can now add initializers into the data table when programming

certain instructions i.e.  GET,200=ffh

+ Version 5.0 introduced filenames resident in LOB files:

GUIDELINES FOR CONVERTING FROM Pre 5.0 to post 5.0 LOB FILES.

o What's the difference?

The new Topdoc LOB file format has the eight-character DOS filename

stored within it.  It ends up in the PLC's memory too.  Now, when

going online,you don't have to enter the filename; the processor

"knows" what file it has in it.  If there isn't a filename in the

processor or if TOPDOC can't find the file whose name is in the

processor, you will be asked whether you want to change the

filename that's in the processor.  If you say "Yes" you'll be

prompted for the filename.  If you say "No" you'll be asked whether

you want to create the file whose name is in the processor.

o How do I get my current Topdoc files into the new format?

There are two ways by which current (old format) files can be

converted to the new format:

1) If you have the Topdoc offline editor, load your file into

the editor and write the file back out to disk.

2) If you have the Topdoc online package, go online and use

ALT-N to change the filename in the processor.  Then upload your

file back out to disk for backup purposes.

Either of the above methods is sufficient to convert a file to the

new Topdoc format.  This procedure needs to be done once for each

Topdoc *.LOB file.

The file name is stored in the message area of the PLC-2 memory.

The message number address space used is that of message

number 713.  Refer to the programming and operations manual for the

PLC-2 for an explaination of the message numbering scheme used.

If you are using message 713 for report generation,  you will have to

re-enter the message with a different message number.

- When the user starts to delete a lot of dbase records at one time,

the index scheme got a bit lost.

- The remote monitoring over the data highway was not functioning

reliably.  This has been rectified.

- Download to a plc2 was fixed through a 1771-KA old revisions.

The problem was also present on 1771-KG modules as well.

- Form feeds in the reports were not being written to the printer at the

beggining of each batch procedure.

- The file-file move instruction set the source and destination]

addresses to the same value.  This was a display problem only.

- The following instructions did not display the length in their

respective blocks online.  The value of zero is constantly

displayed however when you do an [alt][x]  the length was proper.

anf  orf  xof  dia  sqo  sql  sfuy  sfd

4.94

-----

4.93

----

+ Difference detector added.

+ A new *.DBF utility was added called "dbf2.exe".  You can use it to

import, export, or merge a *.DBF file with/to/from and ascii text

file.  The file format used has an extension of *.PRN and can be

imported into most spreadsheets.  "dbf2.exe" is also now used for

re-indexing a database.  TD2RENDX.EXE is no longer used.

4.91

----

+ LCD or monochrome support added for use with those systems not

adequately capable of displaying the "intensity" attribute.  You

can use reverse video to show a true contact if you wish.

- If the total number of vertical characters in a ladder report

rung exceeded some threshold, then the system would lock up.

4.90

----

+ Fixed a bug in the ladder display which would occur if you press

help on a screen only partially filled with ladder.

X010

----

+ Improved database entry added.

X009

----

X008

----

+ Run time error support added.

+ Contact histogram added.

- Online monitoring with block transfer instructions would sometimes

cause a rung to be displayed split as two rungs.

X007

----

X006

----

+ More online improvements, R/Run mode programming added.

X004

----

+ Improved Online support, especially Force tables.

X003

----

+ Added 125 column reports so you can now get reports on 80 column

printers in compressed mode or 132 column paper in non-compressed mode.

+ Added a new report, called a USAGE report that is the best in the

industry.

- The attached mode support is still in the process of being re-done.

Only PLC-2/30 support is partially in place.

X002

----

+ added data highway & cartridge support

+ integrated new reports, including ladder and xref reports

X001

----

- Only the Editor, Import, and Export to *.PLC are functional

- Were still some debug messages

- Numerous other small bugs

+ The field in the program header of each LOB file that used to store

the filename is now used as a "Last Author" field.  This tells you

who the last person to edit a file was.  This is for multi-user

environments such as with NOVELL networks.  Your AUTOEXEC batch file

must have the "SET" command with your name in it as follows:

SET TD_ID=OSCAR ROBERTSON

Use your name, not Oscar's.  You can use up to 30 characters MAX!!!

If you don't do the SET TD_ID command, then the field will be

filled with "NOT SPECIFIED".

Also you can include an additional SET command if you frequently

use one of the TOPDOC command line options.  Say you always run '

in EGA mode and must always type TD5 -v5 on the command line.  Now you

can put any command line options into a second SET command with

SET TD2=-v5

+ Significantly improved find, and search and replace,

now supporting wild cards.  e.g. you can search for T* to find

all timers, or 030/* to find all bits in word 030.

You'll be very pleased with the new search and replace capability.

SOFTWIRES DOS

5.01    April 21,1989

----

- There was a problem with the super user packaging of the softwires

environment which was rectified.

- The wiretable displayed all output addresses only but not

input addresses

5.00     March 20,1989

----

- EAF functions were not being accepted by SoftWIRES.  A software

interrupt would occur.

- The put instruction was only 'putting' 12 bits instead of 16

- Block transfer instructions somentimes had problems due to

an overwriting of the 'beginning of available data table'

causing the first availablke address to change and the

block transfer data address was not being found.

- 'F6' now works on both the process and control program

databases.

*

TOPDOC OS/2 INITIAL RELEASE

5.01 April 21,1989

5.0 March 20,1989

*

SOFTWIRES OS/2 INITIAL RELEASE

5.01    April 17,1989

----

- There was a problem with the super user packaging of the softwires

environment which was rectified.

- The wiretable displayed all output addresses only but not

input addresses

5.00    March 20,1989

----

- A protection violation would occur when you would go from the

'go' option ,load a control configuration, and then execute.

*